## Sheet1
Testcase | Commands | Output
Test1 | show inventory | Fri Jan 10 08:27:41.834 UTC NAME: "0/0", DESCR: "NCS1K4 12x QSFP28 2 Trunk C-Band DWDM card" PID: NCS1K4-1.2T-K9 , VID: V03, SN: CAT2328B16H NAME: "0/0-Optics0/0/0/2", DESCR: "Cisco QSFP-100G-LR4 Pluggable Optics Module" PID: ONS-QSFP28-LR4 , VID: V01, SN: FNS23320CJQ NAME: "0/0-Optics0/0/0/5", DESCR: "Cisco QSFP-100G-LR4 Pluggable Optics Module" PID: ONS-QSFP28-LR4 , VID: V01, SN: FNS233207XP NAME: "0/0-Optics0/0/0/7", DESCR: "Cisco QSFP-100G-LR4 Pluggable Optics Module" PID: ONS-QSFP28-LR4 , VID: V01, SN: FNS24220YSS NAME: "0/1", DESCR: "NCS1K4 12x QSFP28 2 Trunk C-Band DWDM card" PID: NCS1K4-1.2T-K9 , VID: V05, SN: FCB2506B0H8 NAME: "0/1-Optics0/1/0/2", DESCR: "Cisco QSFP-100G-LR4 Pluggable Optics Module" PID: ONS-QSFP28-LR4 , VID: V01, SN: FNS24210M39 NAME: "0/1-Optics0/1/0/3", DESCR: "Cisco QSFP-100G-LR4 Pluggable Optics Module" PID: ONS-QSFP28-LR4 , VID: V01, SN: FNS233207XB NAME: "0/1-Optics0/1/0/4", DESCR: "Cisco QSFP-100G-LR4 Pluggable Optics Module" PID: ONS-QSFP28-LR4 , VID: V01, SN: FNS26111BYM NAME: "0/1-Optics0/1/0/5", DESCR: "Cisco QSFP-100G-LR4 Pluggable Optics Module" PID: ONS-QSFP28-LR4 , VID: V01, SN: FNS2422079B NAME: "0/1-Optics0/1/0/6", DESCR: "Cisco QSFP-100G-LR4 Pluggable Optics Module" PID: ONS-QSFP28-LR4 , VID: V01, SN: FNS26140A7X NAME: "0/1-Optics0/1/0/7", DESCR: "Cisco QSFP-100G-LR4 Pluggable Optics Module" PID: ONS-QSFP28-LR4 , VID: V01, SN: FNS26120HTM NAME: "0/2", DESCR: "Network Convergence System 1004 Filler" PID: NCS1K4-LC-FILLER , VID: V01, SN: N/A NAME: "0/3", DESCR: "Network Convergence System 1004 Filler" PID: NCS1K4-LC-FILLER , VID: V01, SN: N/A NAME: "0/RP0", DESCR: "Network Convergence System 1004 Controller" PID: NCS1K4-CNTLR-K9 , VID: V01, SN: CAT2309B0CH NAME: "0/SC0", DESCR: "Network Convergence System 1004 4 line card slots" PID: NCS1004 , VID: V01, SN: CAT2323B0BU NAME: "Rack 0", DESCR: "Network Convergence System 1004 4 line card slots" PID: NCS1004 , VID: V01, SN: CAT2323B0BU NAME: "0/FT0", DESCR: "Network Convergence System 1004 Fan" PID: NCS1K4-FAN , VID: V01, SN: CAT2324B1DH NAME: "0/FT1", DESCR: "Network Convergence System 1004 Fan" PID: NCS1K4-FAN , VID: V01, SN: CAT2324B1DZ NAME: "0/FT2", DESCR: "Network Convergence System 1004 Fan" PID: NCS1K4-FAN , VID: V01, SN: CAT2324B12M NAME: "0/PM0", DESCR: "Network Convergence System 1004 AC Power Supply Unit" PID: NCS1K4-AC-PSU , VID: V01, SN: POG2309CL63 NAME: "0/PM1", DESCR: "Network Convergence System 1004 AC Power Supply Unit" PID: NCS1K4-AC-PSU , VID: V01, SN: POG2309CL07
Test2 | show version | Fri Jan 10 08:27:42.399 UTC Cisco IOS XR Software, Version 7.7.1 Copyright (c) 2013-2022 by Cisco Systems, Inc. Build Information: Built By : ingunawa Built On : Mon Jul 25 01:18:00 PDT 2022 Built Host : iox-ucs-068 Workspace : /auto/srcarchive12/prod/7.7.1/ncs1004/ws Version : 7.7.1 Location : /opt/cisco/XR/packages/ Label : 7.7.1 cisco NCS-1004 () processor System uptime is 1 week 5 days 20 hours 15 minutes
Test3 | show running-config | Fri Jan 10 08:27:42.710 UTC Building configuration... !! IOS XR Configuration 7.7.1 !! Last configuration change at Wed Dec 18 06:56:52 2024 by admin ! hostname NCS1K-SITE-B logging 10.104.153.77 vrf default severity info port default logging 10.104.153.84 vrf default severity info port default logging 10.106.41.211 vrf default severity info port default username admin group root-lr group cisco-support secret 10 $6$pirew0vh8jfm9w0.$NfhOzOgor6uDj9Q9KAiTzA9SHvgRGdhLjPiOPYfpWTHKvAFU0nr3ITIRugN1hMNG7eHI9XVZFYh7LqyHoYUsN/ ! line default exec-timeout 10 0 session-limit 10 session-timeout 100 transport input all transport output all ! vty-pool default 0 99 line-template default snmp-server ifindex persist snmp-server vrf default host 10.104.153.77 traps version 3 noauth priv host 10.104.153.77 traps version 3 priv snmp_admin host 10.104.153.84 traps version 3 noauth priv host 10.104.153.84 traps version 3 priv snmp_admin host 10.106.41.211 traps version 3 noauth priv host 10.106.41.211 traps version 3 priv snmp_admin ! snmp-server host 8.8.9.98 traps version 2c test123 snmp-server host 10.56.56.225 traps version 3 priv snmp_admin snmp-server host 10.64.80.172 traps public snmp-server host 10.64.80.221 traps version 3 priv snmp_admin snmp-server host 10.64.101.103 traps version 3 noauth public snmp-server host 10.64.101.105 traps version 3 priv snmp_admin snmp-server host 10.64.101.240 traps version 3 noauth public snmp-server host 10.78.12.114 traps version 3 noauth public snmp-server host 10.78.103.91 traps version 3 priv snmp_admin snmp-server host 10.78.103.93 traps version 3 priv snmp_admin snmp-server host 10.78.103.94 traps version 3 priv snmp_admin snmp-server host 10.81.87.166 traps version 3 priv snmp_admin snmp-server host 10.104.89.90 traps version 2c test123 snmp-server host 10.104.124.18 traps version 3 priv snmp_admin snmp-server host 10.105.172.202 traps version 3 priv snmp_admin snmp-server host 10.105.172.240 traps version 3 priv snmp_admin snmp-server host 10.105.208.83 traps version 2c cisco snmp-server host 10.106.33.44 traps public snmp-server host 10.174.19.2 traps version 3 noauth public snmp-server host 10.230.211.2 traps version 3 noauth public snmp-server host 10.230.211.2 traps version 3 priv snmp_admin snmp-server host 172.20.48.54 traps version 3 priv snmp_admin snmp-server host 172.20.48.82 traps version 3 noauth public snmp-server user snmp_admin snmpv3_def v3 auth sha encrypted 15063B1B06397F01697E26711212020B priv aes 128 encrypted 0010231106485F234E6C5F1D190B0C01 SystemOwner snmp-server view view_def 1.3.6 included snmp-server view view_def 1.0.8802 included snmp-server community cisco RO snmp-server community write RW SystemOwner snmp-server community public RO SystemOwner snmp-server community private RW SystemOwner snmp-server group snmpv3_def v3 priv notify view_def read view_def write view_def snmp-server traps rf snmp-server traps ntp snmp-server traps otn snmp-server traps copy-complete snmp-server traps snmp linkup snmp-server traps snmp linkdown snmp-server traps snmp coldstart snmp-server traps snmp warmstart snmp-server traps snmp authentication snmp-server traps flash removal snmp-server traps flash insertion snmp-server traps config snmp-server traps entity snmp-server traps selective-vrf-download role-change snmp-server traps syslog snmp-server traps system snmp-server traps optical snmp-server traps entity-state operstatus snmp-server traps entity-state switchover snmp-server traps entity-redundancy all snmp-server traps entity-redundancy status snmp-server traps entity-redundancy switchover snmp-server logging threshold oid-processing 10 snmp-server logging threshold pdu-processing 10 snmp-server trap-source MgmtEth0/RP0/CPU0/0 ntp server 10.122.1.1 ! call-home service active contact smart-licensing profile CiscoTAC-1 active destination transport-method email disable destination transport-method http ! ! netconf-yang agent ssh ! hw-module location 0/0 mxponder trunk-rate 300G client-rate OTU4 ! ! hw-module location 0/1 mxponder trunk-rate 300G client-rate 100GE ! ! interface MgmtEth0/RP0/CPU0/0 ipv4 address 10.104.153.13 255.255.255.0 ! interface MgmtEth0/RP0/CPU0/1 bridge-port routed-interface MgmtEth0/RP0/CPU0/0 ! interface MgmtEth0/RP0/CPU0/2 shutdown ! controller Optics0/0/0/0 description Scenario-1** Connected to NCS2006-B-2-1-9 bits-per-symbol 3.4375 rx-low-threshold -220 logging events link-status ! controller Optics0/0/0/1 description Scr1-Prot bits-per-symbol 3.4375 rx-low-threshold -220 logging events link-status ! controller Optics0/0/0/2 description ** Connected to NCS4K-B 0/1/0/1 ** rx-low-threshold -110 logging events link-status ! controller Optics0/0/0/3 description Router-P4 0/0/0/11 rx-high-threshold 48 logging events link-status ! controller Optics0/0/0/4 description Router-P3 0/0/0/13 rx-low-threshold -110 ! controller Optics0/0/0/5 description ** Connected to NCS4K-B 0/3/0/1** logging events link-status ! controller Optics0/0/0/6 description Router-P4 0/0/0/12 logging events link-status ! controller Optics0/1/0/0 description Scr2-Work(Connecting to NCS2K-NODE-B) bits-per-symbol 3.4375 rx-voa fixed-ratio 1500 rx-low-threshold -220 logging events link-status ! controller Optics0/1/0/1 description Scr2-Prot(Connecting to NCS2K-NODE-B) bits-per-symbol 3.4375 rx-low-threshold -220 logging events link-status ! controller Optics0/1/0/2 description ** Connected to NCS4K-B 0/2/0/1 ** rx-low-threshold -88 logging events link-status ! controller Optics0/1/0/3 description ** Connected to NCS4K-B 0/1/0/6 ** rx-low-threshold -88 logging events link-status ! controller Optics0/1/0/4 description NCS4K-B--0/6/0/5 rx-low-threshold -88 ! controller Optics0/1/0/5 description ** Connected to NCS4K-B 0/2/0/6 ** rx-low-threshold -88 logging events link-status ! controller Optics0/1/0/6 description ** Connected to NCS4K-B 0/3/0/6 ** rx-low-threshold -88 logging events link-status ! controller Optics0/1/0/7 description NCS4K-B--0/1/0/5 rx-low-threshold -88 ! router static address-family ipv4 unicast 0.0.0.0/0 MgmtEth0/RP0/CPU0/0 10.104.153.1 10.230.211.2/32 10.104.153.150 ! ! lmp gmpls optical-uni controller Optics0/0/0/0 neighbor 1010415314 neighbor flexi-grid-capable neighbor interface-id unnumbered 2130707474 link-id ipv4 unnumbered ! controller Optics0/0/0/1 neighbor 1010415314 neighbor flexi-grid-capable neighbor interface-id unnumbered 2130708242 link-id ipv4 unnumbered ! controller Optics0/1/0/0 neighbor 1010415314 neighbor flexi-grid-capable neighbor interface-id unnumbered 2130707476 link-id ipv4 unnumbered ! controller Optics0/1/0/1 neighbor 1010415314 neighbor flexi-grid-capable neighbor interface-id unnumbered 2130708244 link-id ipv4 unnumbered ! neighbor 1010415314 ipcc routed router-id ipv4 unicast 10.104.153.14 ! router-id ipv4 unicast 10.104.153.13 ! ! rsvp controller Optics0/0/0/0 signalling refresh out-of-band interval 86400 signalling refresh out-of-band missed 110000 ! controller Optics0/0/0/1 signalling refresh out-of-band interval 86400 signalling refresh out-of-band missed 110000 ! controller Optics0/1/0/0 signalling refresh out-of-band interval 86400 signalling refresh out-of-band missed 110000 ! controller Optics0/1/0/1 signalling refresh out-of-band interval 86400 signalling refresh out-of-band missed 110000 ! ! mpls traffic-eng logging events all gmpls optical-uni controller Optics0/0/0/0 ! controller Optics0/0/0/1 ! controller Optics0/1/0/0 ! controller Optics0/1/0/1 ! ! ! xml agent tty ! snmp-server traps sensor snmp-server traps fru-ctrl netconf agent tty ! snmp-server traps ospf lsa lsa-maxage snmp-server traps ospf lsa lsa-originate snmp-server traps ospf errors bad-packet snmp-server traps ospf errors authentication-failure snmp-server traps ospf errors config-error snmp-server traps ospf errors virt-bad-packet snmp-server traps ospf errors virt-authentication-failure snmp-server traps ospf errors virt-config-error snmp-server traps ospf retransmit packets snmp-server traps ospf retransmit virt-packets snmp-server traps ospf state-change if-state-change snmp-server traps ospf state-change neighbor-state-change snmp-server traps ospf state-change virtif-state-change snmp-server traps ospf state-change virtneighbor-state-change ssh server rate-limit 600 ssh server v2 ssh server netconf vrf default snmp-server traps ipsla end
Test4 | show alarms brief system active | Fri Jan 10 08:27:43.509 UTC ------------------------------------------------------------------------------------ Active Alarms ------------------------------------------------------------------------------------ Location Severity Group Set Time Description ------------------------------------------------------------------------------------ 0/0 Critical Controller 12/28/2024 12:16:48 UTC Optics0/0/0/6 - Improper Removal 0/0 Critical Controller 12/28/2024 12:16:48 UTC Optics0/0/0/4 - Improper Removal 0/0 Critical Controller 12/28/2024 12:16:48 UTC Optics0/0/0/3 - Improper Removal 0/0 Critical OTN 12/28/2024 12:16:50 UTC OTU40/0/0/7 - Incoming Payload Signal Absent 0/1 Critical OTN 12/28/2024 12:16:55 UTC CoherentDSP0/1/0/0 - Incoming Payload Signal Absent 0/1 Major Ethernet 12/28/2024 12:16:55 UTC HundredGigECtrlr0/1/0/2 - Carrier Loss On The LAN 0/1 Major Ethernet 12/28/2024 12:16:55 UTC HundredGigECtrlr0/1/0/4 - Carrier Loss On The LAN 0/1 Major Ethernet 12/28/2024 12:16:55 UTC HundredGigECtrlr0/1/0/5 - Carrier Loss On The LAN 0/1 Major Ethernet 12/28/2024 12:16:55 UTC HundredGigECtrlr0/1/0/7 - Carrier Loss On The LAN 0/1 Major Ethernet 12/28/2024 12:16:56 UTC HundredGigECtrlr0/1/0/3 - Remote Fault 0/1 Major Ethernet 12/28/2024 12:16:56 UTC HundredGigECtrlr0/1/0/6 - Remote Fault 0/0 NotReported OTN 12/28/2024 12:17:51 UTC ODU40/0/0/1/2 - Path Monitoring Backward Defect Monitoring 0/0 NotReported OTN 12/28/2024 12:17:51 UTC ODU40/0/0/1/3 - Path Monitoring Backward Defect Monitoring 0/0 NotReported OTN 12/28/2024 12:16:50 UTC ODU40/0/0/0/3 - Path Monitoring Alarm Indication Signal 0/1 NotReported OTN 12/28/2024 12:16:55 UTC ODU40/1/0/1/3 - Path Monitoring Alarm Indication Signal 0/0 NotReported OTN 12/28/2024 12:27:16 UTC ODU40/0/0/0/2 - Path Monitoring Backward Defect Monitoring 0/1 NotAlarmed OTN 12/28/2024 12:27:22 UTC ODU40/1/0/1/2 - OPUK Client Signal Failure 0/1 NotAlarmed OTN 12/28/2024 12:27:31 UTC ODU40/1/0/1/1 - OPUK Client Signal Failure
Test5 | show alarms brief system history | Fri Jan 10 08:27:44.019 UTC ------------------------------------------------------------------------------------ History Alarms ------------------------------------------------------------------------------------ Location Severity Group Set Time Description Clear Time ------------------------------------------------------------------------------------ 0/0 NotReported OTN 07/09/2024 13:38:33 UTC ODU40/0/0/1/1 - Path Monitoring Backward Defect Monitoring 07/09/2024 15:20:48 UTC 0/0 NotReported OTN 07/09/2024 13:38:33 UTC ODU40/0/0/1/2 - Path Monitoring Backward Defect Monitoring 07/09/2024 15:20:48 UTC 0/0 NotReported OTN 07/09/2024 13:38:33 UTC ODU40/0/0/1/3 - Path Monitoring Backward Defect Monitoring 07/09/2024 15:20:48 UTC 0/0 NotReported OTN 07/09/2024 13:38:34 UTC CoherentDSP0/0/0/1 - Section Monitoring Backward Defect Indicator 07/09/2024 15:20:48 UTC 0/0 NotReported OTN 07/09/2024 13:38:33 UTC ODU40/0/0/1/1 - Path Monitoring Backward Defect Monitoring 07/09/2024 15:20:48 UTC 0/0 Minor Controller 07/09/2024 15:20:55 UTC Optics0/0/0/1 - Optics Low Transmit Power 07/09/2024 15:21:11 UTC 0/0 Minor Controller 07/09/2024 15:20:45 UTC Optics0/0/0/1 - Provisioning In Progress 07/09/2024 15:21:24 UTC 0/0 Critical OTN 07/09/2024 15:21:25 UTC CoherentDSP0/0/0/1 - Incoming Payload Signal Absent 07/09/2024 15:21:29 UTC 0/0 Minor Controller 07/09/2024 15:20:50 UTC Optics0/0/0/1 - Optics Low Receive Power 07/09/2024 15:22:06 UTC 0/0 Critical OTN 07/09/2024 12:40:54 UTC CoherentDSP0/0/0/0 - Incoming Payload Signal Absent 07/09/2024 15:23:51 UTC 0/0 Minor Controller 07/09/2024 15:23:51 UTC Optics0/0/0/0 - Optics Low Receive Power 07/09/2024 15:23:51 UTC 0/1 Critical OTN 07/09/2024 12:41:30 UTC CoherentDSP0/1/0/0 - Incoming Payload Signal Absent 07/09/2024 15:24:07 UTC 0/1 Minor Controller 07/09/2024 15:24:07 UTC Optics0/1/0/0 - Optics Low Receive Power 07/09/2024 15:24:07 UTC 0/0 Minor Controller 07/09/2024 15:23:45 UTC Optics0/0/0/0 - Provisioning In Progress 07/09/2024 15:24:26 UTC 0/0 Minor Controller 07/09/2024 15:23:46 UTC Optics0/0/0/0 - Optics Low Transmit Power 07/09/2024 15:24:28 UTC 0/0 Critical OTN 07/09/2024 15:22:41 UTC CoherentDSP0/0/0/1 - Incoming Payload Signal Absent 07/09/2024 15:24:31 UTC 0/0 Minor Controller 07/09/2024 15:24:31 UTC Optics0/0/0/1 - Optics Low Receive Power 07/09/2024 15:24:31 UTC 0/1 Minor Controller 07/09/2024 15:24:02 UTC Optics0/1/0/0 - Provisioning In Progress 07/09/2024 15:24:41 UTC 0/1 Minor Controller 07/09/2024 15:24:02 UTC Optics0/1/0/0 - Optics Low Transmit Power 07/09/2024 15:24:42 UTC 0/1 Critical OTN 07/09/2024 12:40:50 UTC CoherentDSP0/1/0/1 - Incoming Payload Signal Absent 07/09/2024 15:24:45 UTC 0/0 Minor Controller 07/09/2024 15:23:54 UTC Optics0/0/0/1 - Provisioning In Progress 07/09/2024 15:25:04 UTC 0/0 Minor Controller 07/09/2024 15:23:55 UTC Optics0/0/0/1 - Optics Low Transmit Power 07/09/2024 15:25:06 UTC 0/1 Minor Controller 07/09/2024 15:24:45 UTC Optics0/1/0/1 - Optics Low Receive Power 07/09/2024 15:24:45 UTC 0/1 Minor Controller 07/09/2024 15:24:03 UTC Optics0/1/0/1 - Provisioning In Progress 07/09/2024 15:25:20 UTC 0/1 Minor Controller 07/09/2024 15:24:04 UTC Optics0/1/0/1 - Optics Low Transmit Power 07/09/2024 15:25:21 UTC 0/0 NotReported OTN 07/09/2024 15:20:48 UTC ODU40/0/0/5 - Path Monitoring Backward Defect Monitoring 07/09/2024 15:29:05 UTC 0/0 Critical OTN 07/09/2024 15:25:06 UTC CoherentDSP0/0/0/1 - Incoming Payload Signal Absent 07/09/2024 15:29:05 UTC 0/1 Critical OTN 07/09/2024 15:25:21 UTC CoherentDSP0/1/0/1 - Incoming Payload Signal Absent 07/09/2024 15:29:10 UTC 0/1 Minor Controller 07/09/2024 15:29:10 UTC Optics0/1/0/1 - Optics Low Receive Power 07/09/2024 15:29:20 UTC 0/0 NotReported OTN 07/09/2024 12:40:18 UTC ODU40/0/0/2 - Path Monitoring Backward Defect Monitoring 07/09/2024 15:29:36 UTC 0/0 Critical OTN 07/09/2024 15:24:28 UTC CoherentDSP0/0/0/0 - Incoming Payload Signal Absent 07/09/2024 15:29:36 UTC 0/1 Critical OTN 07/09/2024 15:24:42 UTC CoherentDSP0/1/0/0 - Incoming Payload Signal Absent 07/09/2024 15:29:54 UTC 0/1 Minor Controller 07/09/2024 15:29:54 UTC Optics0/1/0/0 - Optics Low Receive Power 07/09/2024 15:30:17 UTC 0/0 NotReported OTN 07/09/2024 15:29:36 UTC ODU40/0/0/0/2 - Path Monitoring Backward Defect Monitoring 07/09/2024 18:06:13 UTC 0/0 NotReported OTN 07/09/2024 18:05:50 UTC ODU40/0/0/0/1 - Path Monitoring Backward Defect Monitoring 07/09/2024 18:06:13 UTC 0/0 NotReported OTN 07/09/2024 18:05:50 UTC CoherentDSP0/0/0/0 - Section Monitoring Backward Defect Indicator 07/09/2024 18:06:13 UTC 0/1 Critical OTN 07/09/2024 15:29:54 UTC CoherentDSP0/1/0/0 - OTUK Loss Of Frame 07/09/2024 18:06:14 UTC 0/1 NotReported OTN 07/09/2024 15:29:54 UTC CoherentDSP0/1/0/0 - OTUK Out Of Frame 07/09/2024 18:06:14 UTC 0/0 Minor Controller 07/09/2024 18:06:14 UTC Optics0/0/0/0 - Optics Low Receive Power 07/09/2024 18:06:14 UTC 0/1 NotReported OTN 07/09/2024 15:29:54 UTC CoherentDSP0/1/0/0 - OTUK OOM 07/09/2024 18:06:14 UTC 0/1 Minor Controller 07/09/2024 18:06:15 UTC Optics0/1/0/0 - Optics Low Receive Power 07/09/2024 18:06:15 UTC 0/0 Minor Controller 07/09/2024 18:06:10 UTC Optics0/0/0/0 - Provisioning In Progress 07/09/2024 18:06:50 UTC 0/1 Minor Controller 07/09/2024 18:06:10 UTC Optics0/1/0/0 - Provisioning In Progress 07/09/2024 18:06:51 UTC 0/0 Critical OTN 07/09/2024 18:06:14 UTC CoherentDSP0/0/0/1 - Incoming Payload Signal Absent 07/09/2024 18:06:54 UTC 0/0 Minor Controller 07/09/2024 18:06:54 UTC Optics0/0/0/1 - Optics Low Receive Power 07/09/2024 18:06:54 UTC 0/1 Critical OTN 07/09/2024 18:06:16 UTC CoherentDSP0/1/0/1 - Incoming Payload Signal Absent 07/09/2024 18:06:55 UTC 0/0 Minor Controller 07/09/2024 18:06:10 UTC Optics0/0/0/1 - Provisioning In Progress 07/09/2024 18:07:27 UTC 0/1 Minor Controller 07/09/2024 18:06:55 UTC Optics0/1/0/1 - Optics Low Receive Power 07/09/2024 18:06:55 UTC 0/1 Minor Controller 07/09/2024 18:06:10 UTC Optics0/1/0/1 - Provisioning In Progress 07/09/2024 18:07:29 UTC 0/0 Critical OTN 07/09/2024 18:06:51 UTC CoherentDSP0/0/0/0 - Incoming Payload Signal Absent 07/09/2024 18:07:32 UTC 0/1 Critical OTN 07/09/2024 18:06:52 UTC CoherentDSP0/1/0/0 - Incoming Payload Signal Absent 07/09/2024 18:07:33 UTC 0/0 Minor Controller 07/09/2024 18:07:32 UTC Optics0/0/0/0 - Optics Low Receive Power 07/09/2024 18:07:32 UTC 0/1 Minor Controller 07/09/2024 18:06:13 UTC Optics0/1/0/0 - Optics Low Transmit Power 07/09/2024 18:08:08 UTC 0/1 Minor Controller 07/09/2024 18:07:33 UTC Optics0/1/0/0 - Optics Low Receive Power 07/09/2024 18:07:33 UTC 0/0 Minor Controller 07/09/2024 18:06:13 UTC Optics0/0/0/0 - Optics Low Transmit Power 07/09/2024 18:08:09 UTC 0/1 Critical OTN 07/09/2024 18:07:29 UTC CoherentDSP0/1/0/1 - Incoming Payload Signal Absent 07/09/2024 18:08:11 UTC 0/1 Minor Controller 07/09/2024 18:08:11 UTC Optics0/1/0/1 - Optics Low Receive Power 07/09/2024 18:08:11 UTC 0/0 Critical OTN 07/09/2024 18:07:28 UTC CoherentDSP0/0/0/1 - Incoming Payload Signal Absent 07/09/2024 18:08:12 UTC 0/0 Minor Controller 07/09/2024 18:08:12 UTC Optics0/0/0/1 - Optics Low Receive Power 07/09/2024 18:08:12 UTC 0/1 Minor Controller 07/09/2024 18:06:54 UTC Optics0/1/0/1 - Optics Low Transmit Power 07/09/2024 18:08:47 UTC 0/0 Minor Controller 07/09/2024 18:06:52 UTC Optics0/0/0/1 - Optics Low Transmit Power 07/09/2024 18:08:47 UTC 0/1 NotReported OTN 07/09/2024 18:09:00 UTC CoherentDSP0/1/0/0 - OTUK OOM 07/09/2024 18:09:00 UTC 0/1 Critical OTN 07/09/2024 18:08:08 UTC CoherentDSP0/1/0/0 - Incoming Payload Signal Absent 07/09/2024 18:09:00 UTC 0/1 NotReported OTN 07/09/2024 18:09:00 UTC CoherentDSP0/1/0/0 - OTUK Out Of Frame 07/09/2024 18:09:00 UTC 0/0 Critical OTN 07/09/2024 18:08:09 UTC CoherentDSP0/0/0/0 - Incoming Payload Signal Absent 07/09/2024 18:09:01 UTC 0/0 NotReported OTN 07/09/2024 18:06:13 UTC ODU40/0/0/2 - Path Monitoring Backward Defect Monitoring 07/09/2024 18:09:01 UTC 0/0 NotReported OTN 07/09/2024 18:06:14 UTC ODU40/0/0/5 - Path Monitoring Backward Defect Monitoring 07/09/2024 18:09:02 UTC 0/0 Critical OTN 07/09/2024 18:08:47 UTC CoherentDSP0/0/0/1 - Incoming Payload Signal Absent 07/09/2024 18:09:02 UTC 0/1 Minor Controller 07/09/2024 18:09:00 UTC Optics0/1/0/0 - Optics Low Receive Power 07/09/2024 18:09:24 UTC 0/1 Critical OTN 07/09/2024 18:08:47 UTC CoherentDSP0/1/0/1 - Incoming Payload Signal Absent 07/09/2024 18:09:32 UTC 0/0 Critical OTN 07/09/2024 18:38:32 UTC CoherentDSP0/0/0/0 - Incoming Payload Signal Absent 07/09/2024 18:38:47 UTC 0/0 Minor Controller 07/09/2024 18:38:47 UTC Optics0/0/0/0 - Optics Low Receive Power 07/09/2024 18:38:47 UTC 0/1 Minor Controller 07/09/2024 18:38:47 UTC Optics0/1/0/0 - Optics Low Receive Power 07/09/2024 18:38:47 UTC 0/0 Minor Controller 07/09/2024 18:38:42 UTC Optics0/0/0/0 - Provisioning In Progress 07/09/2024 18:39:22 UTC 0/1 Critical OTN 07/09/2024 18:38:31 UTC CoherentDSP0/1/0/0 - Incoming Payload Signal Absent 07/09/2024 18:38:47 UTC 0/1 Minor Controller 07/09/2024 18:38:42 UTC Optics0/1/0/0 - Provisioning In Progress 07/09/2024 18:39:24 UTC 0/0 Critical OTN 07/09/2024 18:38:32 UTC CoherentDSP0/0/0/1 - Incoming Payload Signal Absent 07/09/2024 18:39:26 UTC 0/1 Critical OTN 07/09/2024 18:38:31 UTC CoherentDSP0/1/0/1 - Incoming Payload Signal Absent 07/09/2024 18:39:27 UTC 0/0 Minor Controller 07/09/2024 18:39:26 UTC Optics0/0/0/1 - Optics Low Receive Power 07/09/2024 18:39:26 UTC 0/1 Minor Controller 07/09/2024 18:39:27 UTC Optics0/1/0/1 - Optics Low Receive Power 07/09/2024 18:39:27 UTC 0/0 Minor Controller 07/09/2024 18:38:42 UTC Optics0/0/0/1 - Provisioning In Progress 07/09/2024 18:40:00 UTC 0/1 Minor Controller 07/09/2024 18:38:46 UTC Optics0/1/0/1 -
Test6 | admin show led | Fri Jan 10 08:27:48.508 UTC ============================================================= Location LED Name Mode Color ============================================================= 0/0 0/0-Status LED WORKING GREEN 0/1 0/1-Status LED WORKING GREEN 0/RP0 0/RP0-Attention LED WORKING OFF 0/RP0-SYS LED WORKING GREEN 0/RP0-PSU LED WORKING GREEN 0/RP0-FAN LED WORKING GREEN 0/FT0 0/FT0-Status LED WORKING GREEN 0/FT1 0/FT1-Status LED WORKING GREEN 0/FT2 0/FT2-Status LED WORKING GREEN 0/PM0 0/PM0-Status LED WORKING GREEN 0/PM1 0/PM1-Status LED WORKING GREEN
Test7 | admin show environment power | Fri Jan 10 08:27:51.194 UTC ================================================================================ CHASSIS LEVEL POWER INFO: 0 ================================================================================ Total output power capacity (N + 1) : 2000W + 2000W Total output power required : 910W Total power input : 544W Total power output : 448W Power Group 0: ================================================================================ Power Supply ------Input---- ------Output--- Status Module Type Volts Amps Volts Amps ================================================================================ 0/PM0 2kW-AC 226.3 1.3 12.1 20.6 OK Total of Power Group 0: 294W/ 1.3A 249W/ 20.6A Power Group 1: ================================================================================ Power Supply ------Input---- ------Output--- Status Module Type Volts Amps Volts Amps ================================================================================ 0/PM1 2kW-AC 226.8 1.1 12.1 16.4 OK Total of Power Group 1: 249W/ 1.1A 198W/ 16.4A ================================================================================ Location Card Type Power Power Status Allocated Used Watts Watts ================================================================================ 0/0 NCS1K4-1.2T-K9 260 169 ON 0/1 NCS1K4-1.2T-K9 260 171 ON 0/2 NCS1K4-LC-FILLER 0 - RESERVED 0/3 NCS1K4-LC-FILLER 0 - RESERVED 0/RP0 NCS1K4-CNTLR-K9 55 - ON 0/FT0 NCS1K4-FAN 100 - ON 0/FT1 NCS1K4-FAN 100 - ON 0/FT2 NCS1K4-FAN 100 - ON 0/SC0 NCS1004 35 - ON
Test8 | admin show environment voltage | Fri Jan 10 08:27:55.245 UTC ================================================================================ Location VOLTAGE Value Crit Minor Minor Crit Sensor (mV) (Lo) (Lo) (Hi) (Hi) -------------------------------------------------------------------------------- 0/0 VMON_0_85V 846 807 824 875 892 VMON_1_2V 1201 1140 1164 1236 1260 VMON_1_8V 1793 1710 1746 1854 1890 VMON_2_5V 2525 2375 2425 2575 2625 VMON_3_3V 3292 3135 3200 3399 3465 VMON_0_85V_MGT 850 807 824 875 892 VMON_0_9V_MGT 901 855 873 927 945 VMON_1_2V_MGT 1201 1140 1164 1236 1260 VMON_1_8V_MGT 1796 1710 1746 1854 1890 PGOOD_VTT 2964 2000 2200 5000 5500 VIN_7_0V_ST 6975 6650 6790 7210 7350 VAUX_3_3V_ST 3320 3135 3200 3399 3465 VIN_12V_MOD 11944 11400 11640 12360 12600 VMON_1_15V_CDR 1183 400 500 1900 2000 0/1 VMON_0_85V 846 807 824 875 892 VMON_1_2V 1200 1140 1164 1236 1260 VMON_1_8V 1793 1710 1746 1854 1890 VMON_2_5V 2522 2375 2425 2575 2625 VMON_3_3V 3298 3135 3200 3399 3465 VMON_0_85V_MGT 852 807 824 875 892 VMON_0_9V_MGT 901 855 873 927 945 VMON_1_2V_MGT 1202 1140 1164 1236 1260 VMON_1_8V_MGT 1796 1710 1746 1854 1890 PGOOD_VTT 2981 2000 2200 5000 5500 VIN_7_0V_ST 6996 6650 6790 7210 7350 VAUX_3_3V_ST 3328 3135 3200 3399 3465 VIN_12V_MOD 11954 11400 11640 12360 12600 VMON_1_15V_CDR 1186 400 500 1900 2000 0/RP0 ADM1266_VH1_12V 12042 10800 11040 12960 13200 ADM1266_VH3_3V3 3306 3036 3135 3465 3564 ADM1266_VH4_2V5 2504 2300 2375 2625 2700 ADM1266_VP1_1V8 1801 1656 1710 1890 1944 ADM1266_VP2_1V2 1198 1104 1140 1260 1296 ADM1266_3V3_STAND_BY 3293 3036 3135 3465 3564 ADM1266_VP4_3V3_CPU 3297 3036 3135 3465 3564 ADM1266_VP5_2V5_CPU 2498 2300 2375 2625 2700 ADM1266_VP6_1V8_CPU 1795 1656 1710 1890 1944 ADM1266_VP7_1V24_VCCREF 1236 1140 1178 1302 1339 ADM1266_VP8_1V05_CPU 1045 966 997 1102 1134 ADM1266_VP9_1V2_DDR_VDDQ 1206 1104 1140 1260 1296 ADM1266_VP10_1V0_VCCRAM 1074 500 650 1300 1400 ADM1266_VP11_VNN 884 400 550 1300 1400 ADM1266_VP12_VCCP 1072 300 450 1300 1400 ADM1266_VP13_0V6_VTT 603 552 570 630 648 ADM1293_DB_5V0 5020 4600 4750 5250 5400 ADM1293_DB_3V3 3306 3036 3135 3465 3564 ADM1293_DB_5V0_USB_0 5025 4000 4500 5500 6000 ADM1293_DB_5V0_USB_1 5043 4000 4500 5500 6000 ADM1293_MB_5V0_PMOD0 5009 4600 4750 5250 5400 ADM1293_MB_5V0_PMOD1 5129 4600 4750 5250 5400 ADM1293_MB_2V5_PLL 2512 2300 2375 2625 2700 0/SC0 VMON_3_3v 3330 3040 3170 3430 3560 VMON_1_8v 1810 1660 1730 1870 1940 VMON_0_9v_PEX 905 830 860 940 970 VMON_1v_XGE_CORE 981 870 910 1090 1130 VMON_1v_XGE_SERDES 1010 920 960 1040 1080 VMON_1v_FPGA_CORE 1008 920 960 1040 1080 VMON_1_2v_FPGA 1205 1100 1150 1250 1300 VMON_12v_MAIN 11965 11040 11520 12480 12960
Test9 | admin show environment current | Fri Jan 10 08:27:59.108 UTC ================================================================================ Location CURRENT Value Sensor (mA) -------------------------------------------------------------------------------- 0/0 IMON_CLI 732 IMON_CTLPL 993 IMON_MODULE 9679 IMON_CDR 3234 IMON_LC 14189 0/1 IMON_CLI 1505 IMON_CTLPL 961 IMON_MODULE 9113 IMON_CDR 2997 IMON_LC 14434 0/RP0 ADM1293_MB_VCCP_VNN 240 ADM1293_MB_VCCRAM_VDDQ 196 ADM1293_MB_1V05_CPU 416 ADM1293_MB_1V8_3V3_CPU 45 ADM1293_MB_1V0_1V8 63 ADM1293_MB_2V5 32 ADM1293_MB_3V3 118 ADM1293_DB_VP12P0_5V0 113 ADM1293_DB_VP12P0_3V3 258 0/SC0 IMON_LC0 14189 IMON_LC1 14434 IMON_LC2 95 IMON_LC3 149 IMON_CPU 1713 IMON_Outlet_FAN0 783 IMON_Outlet_FAN1 858 IMON_Outlet_FAN2 864 IMON_Inlet_FAN0 653 IMON_Inlet_FAN1 635 IMON_Inlet_FAN2 728 IMON_3_3_v 945 IMON_1_8_v 1445 IMON_0_9v_PEX 2015 IMON_1v_XGE_CORE 1428 IMON_1v_XGE_SERDES 1215 IMON_1v_FPGA_CORE 1530 IMON_1_2v_FPGA 481
Test10 | admin show environment fan | Fri Jan 10 08:28:02.908 UTC ============================================= Fan speed (rpm) Location FRU Type FAN_0 FAN_1 --------------------------------------------- 0/FT0 NCS1K4-FAN 6330 6300 0/FT1 NCS1K4-FAN 6330 6300 0/FT2 NCS1K4-FAN 6360 6360 0/PM0 NCS1K4-AC-PSU 11040 11008 0/PM1 NCS1K4-AC-PSU 11072 11040
Test11 | show controllers optics 0/1/0/0 pm history 15-min optics 1 | % Incomplete command.
Test12 | show controllers optics 0/1/0/0 pm history 24-hour optics 1 | Fri Jan 10 08:28:06.999 UTC Optics in interval 1 [00:00:00 - 24:00:00 Thu Jan 9 2025] Optics history bucket type : Valid MIN AVG MAX LBC[% ] : 0.0 0.0 0.0 OPT[dBm] : -1.77 -1.49 -1.22 OPR[dBm] : -3.65 -3.40 -3.10 CD[ps/nm] : 0 0 0 DGD[ps ] : 0.00 0.00 0.00 SOPMD[ps^2]: 0.00 0.00 0.00 OSNR[dB] : 0.00 0.00 0.00 PDL[dB] : 0.00 0.00 0.00 PCR[rad/s] : 0.00 0.00 0.00 RX_SIG[dBm] : -40.00 -40.00 -40.00 FREQ_OFF[Mhz]: 0 0 0 SNR[dB] : 0.00 0.00 0.00 SNR-AX[dB]: 0.00 0.00 0.00 SNR-AY[dB]: 0.00 0.00 0.00 SNR-BX[dB]: 0.00 0.00 0.00 SNR-BY[dB]: 0.00 0.00 0.00 SOP-S1 : 0.00 0.00 0.00 SOP-S2 : 0.00 0.00 0.00 SOP-S3 : 0.00 0.00 0.00 Last clearing of "show controllers OPTICS" counters never
Test13 | admin show environment temperature | Fri Jan 10 08:28:07.386 UTC ================================================================================ Location TEMPERATURE Value Crit Major Minor Minor Major Crit Sensor (deg C) (Lo) (Lo) (Lo) (Hi) (Hi) (Hi) -------------------------------------------------------------------------------- 0/0 TEMP_DX_PCB 34 -10 -5 0 95 100 105 TEMP_DX_ZYNQ 24 -10 -5 0 95 100 105 0/1 TEMP_DX_PCB 37 -10 -5 0 95 100 105 TEMP_DX_ZYNQ 23 -10 -5 0 95 100 105 0/RP0 TEMP_LOCAL 23 -10 -5 0 55 65 70 TEMP_REMOTE1 23 -10 -5 0 55 65 70 TEMP_CPU_DIE 24 -10 -5 0 75 80 90 0/PM0 Inlet Temperature 21 -10 -5 0 65 70 75 Heat Sink Temperature1 29 -10 -5 0 93 98 103 Heat Sink Temperature2 42 -10 -5 0 93 98 103 0/PM1 Inlet Temperature 25 -10 -5 0 65 70 75 Heat Sink Temperature1 37 -10 -5 0 93 98 103 Heat Sink Temperature2 44 -10 -5 0 93 98 103 0/SC0 Temp_LC0 24 -10 -5 0 75 85 90 Temp_LC1 25 -10 -5 0 75 85 90 Temp_LC2 19 -10 -5 0 75 85 90 Temp_LC3 23 -10 -5 0 75 85 90 Temp_Inlet0 16 -10 -5 0 45 55 60 Temp_Inlet1 16 -10 -5 0 45 55 60 Temp_PEX 23 -10 -5 0 80 85 90 Temp_Aldrin 27 -10 -5 0 80 85 90
Test14 | show watchdog memory-state location all | Fri Jan 10 08:28:10.539 UTC ---- node0_RP0_CPU0 ---- Memory information: Physical Memory : 6144.0 MB Free Memory : 3555.742 MB Memory State : Normal
Test15 | show cpu-memory-snapshots location 0/RP0/CPU0 | Fri Jan 10 08:28:10.876 UTC Timestamp Load-1 Load-5 Load-15 Total(MB) Free(MB) Used(MB) 2023/Sep/20/22:13:16 0.10 0.34 0.45 6144 2879 3264 2023/Sep/20/22:43:20 0.13 0.28 0.31 6144 2869 3274 2023/Sep/20/23:13:25 0.15 0.42 0.56 6144 2869 3274 2023/Sep/20/23:43:29 0.18 0.28 0.35 6144 2865 3278 2023/Sep/21/00:13:34 1.45 0.78 0.51 6144 2861 3282 2023/Sep/21/00:43:38 0.40 0.49 0.57 6144 2859 3284 2023/Sep/21/01:13:43 0.11 0.27 0.40 6144 2859 3284 2023/Sep/21/01:43:47 0.17 0.36 0.44 6144 2856 3287 2023/Sep/21/02:13:52 0.73 0.91 0.84 6144 2854 3289 2023/Sep/21/02:43:56 0.27 0.37 0.51 6144 2853 3290 2023/Sep/21/03:14:01 1.07 1.25 0.83 6144 2848 3295 2023/Sep/21/03:44:05 0.60 0.59 0.63 6144 2851 3292 2023/Sep/21/04:14:10 0.37 0.32 0.38 6144 2850 3293 2023/Sep/21/04:44:14 0.11 0.47 0.58 6144 2856 3287 2023/Sep/21/05:14:19 0.22 0.33 0.38 6144 2862 3281 2023/Sep/21/05:44:23 0.64 0.42 0.35 6144 2861 3282 2023/Sep/21/06:14:28 0.39 0.37 0.53 6144 2859 3284 2023/Sep/21/06:44:32 0.20 0.23 0.30 6144 2859 3284 2023/Sep/21/07:14:37 1.01 0.69 0.52 6144 2856 3287 2023/Sep/21/07:44:41 0.28 0.38 0.52 6144 2853 3290 2023/Sep/21/08:14:46 0.19 0.27 0.33 6144 2853 3290 2023/Sep/21/08:44:50 1.73 0.97 0.60 6144 2852 3291 2023/Sep/21/09:14:55 0.68 0.76 0.76 6144 2852 3291 2023/Sep/21/09:44:59 0.29 0.47 0.59 6144 2892 3251 2023/Sep/21/10:15:04 0.88 0.81 0.78 6144 2870 3273 2023/Sep/21/10:45:09 0.21 0.44 0.53 6144 2868 3275 2023/Sep/21/11:15:13 0.18 0.29 0.37 6144 2867 3276 2023/Sep/21/11:45:18 0.27 0.43 0.56 6144 2866 3277 2023/Sep/21/12:15:23 0.28 0.32 0.36 6144 2861 3282 2023/Sep/21/12:45:27 0.25 0.50 0.43 6144 2852 3291 2023/Sep/21/13:15:32 0.38 0.36 0.52 6144 2858 3285 2023/Sep/21/13:45:36 0.26 0.26 0.34 6144 2851 3292 2023/Sep/21/14:15:41 0.89 0.52 0.45 6144 2859 3284 2023/Sep/21/14:45:45 0.12 0.28 0.46 6144 2856 3287 2023/Sep/21/15:15:50 0.17 0.22 0.30 6144 2856 3287 2023/Sep/21/15:45:54 0.27 0.83 0.69 6144 2856 3287 2023/Sep/21/16:15:59 0.50 0.69 0.78 6144 2854 3289 2023/Sep/21/16:46:03 0.46 0.44 0.50 6144 2854 3289 2023/Sep/21/17:16:08 0.40 0.56 0.67 6144 2852 3291 2023/Sep/21/17:46:13 0.16 0.34 0.48 6144 2852 3291 2023/Sep/21/18:16:17 0.39 0.53 0.45 6144 2851 3292 2023/Sep/21/18:46:22 0.23 0.31 0.48 6144 2850 3293 2023/Sep/21/19:16:26 0.29 0.25 0.34 6144 2849 3294 2023/Sep/21/19:46:31 0.10 0.26 0.34 6144 2847 3296 2023/Sep/21/20:16:35 0.21 0.33 0.47 6144 2847 3296 2023/Sep/21/20:46:40 0.11 0.21 0.30 6144 2847 3296 2023/Sep/21/21:16:45 1.28 1.08 0.74 6144 2845 3298 2023/Sep/21/21:46:49 0.40 0.33 0.43 6144 2842 3301 2023/Sep/21/22:16:54 0.03 0.19 0.30 6144 2748 3395 2023/Sep/21/22:46:58 0.18 0.49 0.55 6144 2747 3396 2023/Sep/21/23:17:03 0.21 0.45 0.62 6144 2754 3389 2023/Sep/21/23:47:07 0.77 0.39 0.43 6144 2752 3391 2023/Sep/22/00:17:12 0.19 0.34 0.51 6144 2751 3392 2023/Sep/22/00:47:16 0.10 0.28 0.41 6144 2752 3391 2023/Sep/22/01:17:21 0.07 0.24 0.32 6144 2751 3392 2023/Sep/22/01:47:25 0.18 0.31 0.46 6144 2749 3394 2023/Sep/22/02:17:30 0.09 0.22 0.33 6144 2748 3395 2023/Sep/22/02:47:35 1.57 0.83 0.59 6144 2748 3395 2023/Sep/22/03:17:39 0.19 0.28 0.43 6144 2747 3396 2023/Sep/22/03:47:44 0.20 0.27 0.35 6144 2746 3397 2023/Sep/22/04:17:48 0.17 0.69 0.74 6144 2744 3399 2023/Sep/22/04:47:53 0.17 0.29 0.43 6144 2743 3400 2023/Sep/22/05:17:57 0.12 0.19 0.29 6144 2737 3406 2023/Sep/22/05:48:02 0.52 0.63 0.62 6144 2741 3402 2023/Sep/22/06:18:07 0.42 0.41 0.60 6144 2740 3403 2023/Sep/22/06:48:11 0.10 0.33 0.42 6144 2738 3405 2023/Sep/22/07:18:16 0.29 0.43 0.61 6144 2738 3405 2023/Sep/22/07:48:20 0.27 0.29 0.38 6144 2737 3406 2023/Sep/22/08:18:25 0.20 0.25 0.32 6144 2736 3407 2023/Sep/22/08:48:29 0.27 0.28 0.41 6144 2744 3399 2023/Sep/22/09:18:34 0.23 0.19 0.30 6144 2744 3399 2023/Sep/22/09:48:39 0.43 0.84 0.66 6144 2743 3400 2023/Sep/22/10:18:43 0.44 0.37 0.39 6144 2757 3386 2023/Sep/22/10:48:48 0.27 0.22 0.27 6144 2755 3388 2023/Sep/22/11:18:52 0.48 0.52 0.59 6144 2752 3391 2023/Sep/22/11:48:57 0.10 0.19 0.34 6144 2752 3391 2023/Sep/22/12:19:02 0.33 0.37 0.36 6144 2754 3389 2023/Sep/22/12:49:06 1.01 0.92 0.77 6144 2752 3391 2023/Sep/22/13:19:11 0.46 0.42 0.55 6144 2754 3389 2023/Sep/22/13:49:15 0.62 0.35 0.40 6144 2754 3389 2023/Sep/22/14:19:20 0.71 0.46 0.51 6144 2753 3390 2023/Sep/22/14:49:25 0.37 0.30 0.37 6144 2752 3391 2023/Sep/22/15:19:29 1.74 1.19 0.74 6144 2748 3395 2023/Sep/22/15:49:34 0.32 0.30 0.40 6144 2747 3396 2023/Sep/22/16:19:39 0.29 0.28 0.34 6144 2747 3396 2023/Sep/22/16:49:43 0.63 0.58 0.58 6144 2746 3397 2023/Sep/22/17:19:48 0.41 0.33 0.37 6144 2745 3398 2023/Sep/22/17:49:52 0.39 0.39 0.39 6144 2743 3400 2023/Sep/22/18:19:57 0.46 0.43 0.58 6144 2753 3390 2023/Sep/22/18:50:02 0.25 0.29 0.38 6144 2749 3394 2023/Sep/22/19:20:06 0.28 0.34 0.36 6144 2748 3395 2023/Sep/22/19:50:11 1.60 0.86 0.71 6144 2746 3397 2023/Sep/22/20:20:16 0.41 0.36 0.49 6144 2748 3395 2023/Sep/22/20:50:20 1.64 0.94 0.68 6144 2748 3395 2023/Sep/22/21:20:25 0.79 0.45 0.55 6144 2739 3404 2023/Sep/22/21:50:30 0.84 0.43 0.42 6144 2742 3401 2023/Sep/22/22:20:34 0.55 0.78 0.68 6144 2741 3402 2023/Sep/22/22:50:39 0.51 0.33 0.37 6144 2741 3402 2023/Sep/22/23:20:43 0.61 0.44 0.36 6144 2739 3404 2023/Sep/22/23:50:48 0.49 0.45 0.52 6144 2741 3402 2023/Sep/23/00:20:53 0.80 0.47 0.41 6144 2732 3411 2023/Sep/23/00:50:57 1.56 0.83 0.52 6144 2736 3407 2023/Sep/23/01:21:02 0.72 0.49 0.54 6144 2735 3408 2023/Sep/23/01:51:07 0.47 0.32 0.37 6144 2734 3409 2023/Sep/23/02:21:11 0.46 0.34 0.34 6144 2733 3410 2023/Sep/23/02:51:16 1.05 1.01 0.87 6144 2732 3411 2023/Sep/23/03:21:21 1.00 0.61 0.61 6144 2734 3409 2023/Sep/23/03:51:25 1.23 1.24 0.85 6144 2735 3408 2023/Sep/23/04:21:30 1.13 0.67 0.58 6144 2739 3404 2023/Sep/23/04:51:35 0.91 0.49 0.43 6144 2738 3405 2023/Sep/23/05:21:39 1.40 0.82 0.67 6144 2737 3406 2023/Sep/23/05:51:44 0.60 0.48 0.43 6144 2736 3407 2023/Sep/23/06:21:49 1.59 0.83 0.51 6144 2738 3405 2023/Sep/23/06:51:54 0.65 0.48 0.52 6144 2737 3406 2023/Sep/23/07:21:58 0.71 0.43 0.40 6144 2736 3407 2023/Sep/23/07:52:03 1.16 0.79 0.56 6144 2735 3408 2023/Sep/23/08:22:07 0.83 0.55 0.55 6144 2734 3409 2023/Sep/23/08:52:12 0.87 0.55 0.43 6144 2727 3416 2023/Sep/23/09:22:17 1.81 1.06 0.64 6144 2732 3411 2023/Sep/23/09:52:22 1.01 0.77 0.75 6144 2731 3412 2023/Sep/23/10:22:26 0.55 0.55 0.56 6144 2730 3413 2023/Sep/23/10:52:31 0.87 0.86 0.74 6144 2729 3414 2023/Sep/23/11:22:36 0.71 0.66 0.58 6144 2728 3415 2023/Sep/23/11:52:40 0.45 0.48 0.41 6144 2727 3416 2023/Sep/23/12:22:45 0.54 0.60 0.62 6144 2726 3417 2023/Sep/23/12:52:50 0.45 0.48 0.44 6144 2735 3408 2023/Sep/23/13:22:54 0.44 0.47 0.41 6144 2734 3409 2023/Sep/23/13:52:59 0.24 0.47 0.54 6144 2734 3409 2023/Sep/23/14:23:04 0.33 0.43 0.39 6144 2732 3411 2023/Sep/23/14:53:08 1.46 0.88 0.59 6144 2731 3412 2023/Sep/23/15:23:13 0.37 0.47 0.51 6144 2729 3414 2023/Sep/23/15:53:18 0.37 0.50 0.45 6144 2730 3413 2023/Sep/23/16:23:22 0.38 0.88 0.69 6144 2728 3415 2023/Sep/23/16:53:27 0.49 0.83 0.79 6144 2728 3415 2023/Sep/23/17:23:32 0.21 0.37 0.46 6144 2741 3402 2023/Sep/23/17:53:36 0.50 0.69 0.69 6144 2745 3398 2023/Sep/23/18:23:41 0.29 0.42 0.46 6144 2744 3399 2023/Sep/23/18:53:46 0.34 0.58 0.47 6144 2743 3400 2023/Sep/23/19:23:51 0.26 0.45 0.53 6144 2739 3404 2023/Sep/23/19:53:55 0.21 0.33 0.38 6144 2737 3406 2023/Sep/23/20:24:00 0.43 0.35 0.34 6144 2735 3408 2023/Sep/23/20:54:05 0.26 0.39 0.45 6144 2739 3404 2023/Sep/23/21:24:09 0.36 0.38 0.36 6144 2738 3405 2023/Sep/23/21:54:14 1.41 1.31 0.84 6144 2737 3406 2023/Sep/23/22:24:19 0.55 0.47 0.52 6144 2746 3397 2023/Sep/23/22:54:24 0.29 0.32 0.32 6144 2745 3398 2023/Sep/23/23:24:28 0.22 0.63 0.64 6144 2744 3399 2023/Sep/23/23:54:33 0.47 0.70 0.71 6144 2743 3400 2023/Sep/24/00:24:38 1.34 0.63 0.55 6144 2741 3402 2023/Sep/24/00:54:42 0.39 0.52 0.65 6144 2741 3402 2023/Sep/24/01:24:47 0.40 0.41 0.44 6144 2741 3402 2023/Sep/24/01:54:52 0.27 0.43 0.40 6144 2740 3403 2023/Sep/24/02:24:57 0.11 0.29 0.44 6144 2736 3407 2023/Sep/24/02:55:01 0.34 0.45 0.43 6144 2736 3407 2023/Sep/24/03:25:06 1.77 0.99 0.62 6144 2737 3406 2023/Sep/24/03:55:11 0.21 0.36 0.45 6144 2729 3414 2023/Sep/24/04:25:16 0.37 0.33 0.37 6144 2735 3408 2023/Sep/24/04:55:20 0.51 0.76 0.72 6144 2733 3410 2023/Sep/24/05:25:25 0.45 0.41 0.45 6144 2733 3410 2023/Sep/24/05:55:30 0.17 0.26 0.31 6144 2733 3410 2023/Sep/24/06:25:35 0.80 0.76 0.67 6144 2731 3412 2023/Sep/24/06:55:39 0.48 0.55 0.64 6144 2729 3414 2023/Sep/24/07:25:44 0.55 0.57 0.52 6144 2729 3414 2023/Sep/24/07:55:49 0.33 0.54 0.65 6144 2739 3404 2023/Sep/24/08:25:54 0.20 0.35 0.44 6144 2737 3406 2023/Sep/24/08:55:58 0.33 0.37 0.40 6144 2736 3407 2023/Sep/24/09:26:03 0.13 0.24 0.40 6144 2735 3408 2023/Sep/24/09:56:08 0.16 0.31 0.32 6144 2735 3408 2023/Sep/24/10:26:13 0.41 0.89 0.66 6144 2733 3410 2023/Sep/24/10:56:17 0.17 0.38 0.41 6144 2732 3411 2023/Sep/24/11:26:22 0.23 0.28 0.29 6144 2730 3413 2023/Sep/24/11:56:27 0.13 0.45 0.59 6144 2730 3413 2023/Sep/24/12:26:32 0.36 0.45 0.44 6144 2730 3413 2023/Sep/24/12:56:36 0.55 0.54 0.41 6144 2728 3415 2023/Sep/24/13:26:41 0.84 0.88 0.76 6144 2726 3417 2023/Sep/24/13:56:46 0.36 0.56 0.67 6144 2727 3416 2023/Sep/24/14:26:51 0.27 0.40 0.45 6144 2725 3418 2023/Sep/24/14:56:55 0.11 0.35 0.51 6144 2724 3419 2023/Sep/24/15:27:00 0.16 0.29 0.35 6144 2722 3421 2023/Sep/24/15:57:05 1.56 1.16 0.71 6144 2721 3422 2023/Sep/24/16:27:10 0.25 0.33 0.41 6144 2721 3422 2023/Sep/24/16:57:15 0.13 0.30 0.36 6144 2731 3412 2023/Sep/24/17:27:19 0.22 0.66 0.66 6144 2729 3414 2023/Sep/24/17:57:24 0.49 0.46 0.48 6144 2727 3416 2023/Sep/24/18:27:29 0.11 0.30 0.36 6144 2728 3415 2023/Sep/24/18:57:34 0.22 0.39 0.56 6144 2726 3417 2023/Sep/24/19:27:38 0.23 0.33 0.39 6144 2725 3418 2023/Sep/24/19:57:43 0.31 0.39 0.39 6144 2725 3418 2023/Sep/24/20:27:48 1.04 0.92 0.79 6144 2723 3420 2023/Sep/24/20:57:53 0.17 0.42 0.56 6144 2723 3420 2023/Sep/24/21:27:58 1.32 0.84 0.63 6144 2722 3421 2023/Sep/24/21:58:02 0.25 0.32 0.50 6144 2720 3423 2023/Sep/24/22:28:07 0.14 0.25 0.36 6144 2718 3425 2023/Sep/24/22:58:12 0.34 0.78 0.69 6144 2719 3424 2023/Sep/24/23:28:17 0.15 0.30 0.37 6144 2718 3425 2023/Sep/24/23:58:22 0.17 0.34 0.38 6144 2716 3427 2023/Sep/25/00:28:26 0.12 0.40 0.52 6144 2733 3410 2023/Sep/25/00:58:31 0.30 0.37 0.40 6144 2733 3410 2023/Sep/25/01:28:36 0.54 0.49 0.45 6144 2733 3410 2023/Sep/25/01:58:41 0.29 0.41 0.52 6144 2732 3411 2023/Sep/25/02:28:46 0.23 0.31 0.37 6144 2740 3403 2023/Sep/25/02:58:50 0.30 0.26 0.33 6144 2735 3408 2023/Sep/25/03:28:55 1.06 0.89 0.79 6144 2736 3407 2023/Sep/25/03:59:00 0.53 0.44 0.51 6144 2738 3405 2023/Sep/25/04:29:05 0.65 1.05 0.77 6144 2736 3407 2023/Sep/25/04:59:10 0.71 0.85 0.66 6144 2735 3408 2023/Sep/25/05:29:15 0.36 0.32 0.37 6144 2743 3400 2023/Sep/25/05:59:19 0.15 0.49 0.56 6144 2742 3401 2023/Sep/25/06:29:24 0.27 0.39 0.44 6144 2741 3402 2023/Sep/25/06:59:29 0.67 0.53 0.41 6144 2740 3403 2023/Sep/25/07:29:34 0.36 0.33 0.49 6144 2738 3405 2023/Sep/25/07:59:39 0.08 0.25 0.33 6144 2739 3404 2023/Sep/25/08:29:44 0.79 0.74 0.57 6144 2738 3405 2023/Sep/25/08:59:48 0.27 0.38 0.53 6144 2736 3407 2023/Sep/25/09:29:53 0.20 0.19 0.31 6144 2735 3408 2023/Sep/25/09:59:58 1.43 0.90 0.59 6144 2735 3408 2023/Sep/25/10:30:03 0.43 0.62 0.66 6144 2733 3410 2023/Sep/25/11:00:08 0.06 0.28 0.43 6144 2732 3411 2023/Sep/25/11:30:13 0.52 0.72 0.69 6144 2730 3413 2023/Sep/25/12:00:18 0.44 0.51 0.53 6144 2739 3404 2023/Sep/25/12:30:22 0.09 0.22 0.31 6144 2740 3403 2023/Sep/25/13:00:27 0.29 0.37 0.49 6144 2738 3405 2023/Sep/25/13:30:32 0.07 0.24 0.35 6144 2737 3406 2023/Sep/25/14:00:37 0.13 0.32 0.33 6144 2736 3407 2023/Sep/25/14:30:42 0.25 0.31 0.47 6144 2735 3408 2023/Sep/25/15:00:47 0.06 0.23 0.34 6144 2734 3409 2023/Sep/25/15:30:52 1.19 0.77 0.63 6144 2733 3410 2023/Sep/25/16:00:56 0.11 0.25 0.43 6144 2731 3412 2023/Sep/25/16:31:01 0.11 0.23 0.31 6144 2730 3413 2023/Sep/25/17:01:06 0.26 0.80 0.70 6144 2730 3413 2023/Sep/25/17:31:11 0.33 0.54 0.68 6144 2729 3414 2023/Sep/25/18:01:16 0.14 0.36 0.49 6144 2728 3415 2023/Sep/25/18:31:21 0.28 0.52 0.69 6144 2727 3416 2023/Sep/25/19:01:26 0.12 0.23 0.39 6144 2726 3417 2023/Sep/25/19:31:30 0.30 0.43 0.39 6144 2725 3418 2023/Sep/25/20:01:35 0.19 0.38 0.51 6144 2723 3420 2023/Sep/25/20:31:40 0.23 0.32 0.40 6144 2722 3421 2023/Sep/25/21:01:45 0.16 0.29 0.36 6144 2731 3412 2023/Sep/25/21:31:50 0.05 0.19 0.39 6144 2732 3411 2023/Sep/25/22:01:55 0.35 0.41 0.40 6144 2710 3433 2023/Sep/25/22:32:00 0.77 1.02 0.80 6144 2728 3415 2023/Sep/25/23:02:05 0.34 0.33 0.41 6144 2728 3415 2023/Sep/25/23:32:10 0.03 0.16 0.28 6144 2727 3416 2023/Sep/26/00:02:15 0.41 0.57 0.59 6144 2726 3417 2023/Sep/26/00:32:19 0.43 0.55 0.67 6144 2725 3418 2023/Sep/26/01:02:24 0.88 0.51 0.48 6144 2724 3419 2023/Sep/26/01:32:29 0.37 0.51 0.66 6144 2725 3418 2023/Sep/26/02:02:34 0.18 0.29 0.42 6144 2724 3419 2023/Sep/26/02:32:39 0.11 0.37 0.40 6144 2722 3421 2023/Sep/26/03:02:44 0.03 0.22 0.44 6144 2720 3423 2023/Sep/26/03:32:49 0.01 0.12 0.27 6144 2721 3422 2023/Sep/26/04:02:54 1.75 1.01 0.64 6144 2720 3423 2023/Sep/26/04:32:59 0.23 0.26 0.39 6144 2719 3424 2023/Sep/26/05:03:03 0.34 0.28 0.32 6144 2718 3425 2023/Sep/26/05:33:08 0.71 0.76 0.72 6144 2717 3426 2023/Sep/26/06:03:13 0.71 0.48 0.49 6144 2716 3427 2023/Sep/26/06:33:18 0.01 0.15 0.27 6144 2725 3418 2023/Sep/26/07:03:23 0.62 0.73 0.66 6144 2724 3419 2023/Sep/26/07:33:28 0.36 0.43 0.59 6144 2740 3403 2023/Sep/26/08:03:33 0.14 0.28 0.41 6144 2742 3401 2023/Sep/26/08:33:38 0.25 0.41 0.56 6144 2741 3402 2023/Sep/26/09:03:43 0.47 0.28 0.36 6144 2740 3403 2023/Sep/26/09:33:48 1.13 0.53 0.45 6144 2739 3404 2023/Sep/26/10:03:53 0.56 0.34 0.40 6144 2735 3408 2023/Sep/26/10:33:58 0.52 0.33 0.38 6144 2734 3409 2023/Sep/26/11:04:03 0.41 0.80 0.66 6144 2735 3408 2023/Sep/26/11:34:08 0.23 0.32 0.39 6144 2735 3408 2023/Sep/26/12:04:12 0.59 0.37 0.34 6144 2733 3410 2023/Sep/26/12:34:17 0.18 0.42 0.60 6144 2733 3410 2023/Sep/26/13:04:22 0.28 0.28 0.37 6144 2732 3411 2023/Sep/26/13:34:27 0.29 0.42 0.37 6144 2730 3413 2023/Sep/26/14:04:32 0.59 0.68 0.64 6144 2730 3413 2023/Sep/26/14:34:37 0.32 0.42 0.53 6144 2729 3414 2023/Sep/26/15:04:42 0.30 0.35 0.40 6144 2728 3415 2023/Sep/26/15:34:47 0.28 0.33 0.47 6144 2726 3417 2023/Sep/26/16:04:52 0.08 0.23 0.35 6144 2735 3408 2023/Sep/26/16:34:57 1.33 1.18 0.73 6144 2735 3408 2023/Sep/26/17:05:02 0.49 0.35 0.44 6144 2731 3412 2023/Sep/26/17:35:07 0.26 0.25 0.29 6144 2730 3413 2023/Sep/26/18:05:12 0.26 0.63 0.68 6144 2729 3414 2023/Sep/26/18:35:17 0.60 0.44 0.46 6144 2728 3415 2023/Sep/26/19:05:22 1.53 0.52 0.40 6144 2727 3416 2023/Sep/26/19:35:27 0.66 0.35 0.51 6144 2726 3417 2023/Sep/26/20:05:32 0.54 0.33 0.37 6144 2728 3415 2023/Sep/26/20:35:37 0.89 0.46 0.41 6144 2726 3417 2023/Sep/26/21:05:42 1.14 0.99 0.86 6144 2718 3425 2023/Sep/26/21:35:47 0.88 0.52 0.55 6144 2717 3426 2023/Sep/26/22:05:52 2.14 1.11 0.70 6144 2721 3422 2023/Sep/26/22:35:57 1.03 0.57 0.56 6144 2720 3423 2023/Sep/26/23:06:02 0.63 0.32 0.35 6144 2719 3424 2023/Sep/26/23:36:07 0.48 0.61 0.56 6144 2719 3424 2023/Sep/27/00:06:12 0.68 0.43 0.37 6144 2719 3424 2023/Sep/27/00:36:17 0.77 0.43 0.34 6144 2718 3425 2023/Sep/27/01:06:22 0.91 0.64 0.59 6144 2726 3417 2023/Sep/27/01:36:27 0.78 0.41 0.37 6144 2728 3415 2023/Sep/27/02:06:32 0.91 0.81 0.55 6144 2727 3416 2023/Sep/27/02:36:37 1.06 0.61 0.61 6144 2718 3425 2023/Sep/27/03:06:42 0.93 0.47 0.42 6144 2716 3427 2023/Sep/27/03:36:47 1.18 0.58 0.45 6144 2721 3422 2023/Sep/27/04:06:52 0.81 0.85 0.84 6144 2720 3423 2023/Sep/27/04:36:57 0.74 0.55 0.56 6144 2722 3421 2023/Sep/27/05:07:02 1.07 1.29 0.90 6144 2721 3422 2023/Sep/27/05:37:07 0.70 0.67 0.58 6144 2719 3424 2023/Sep/27/06:07:12 0.52 0.41 0.39 6144 2720 3423 2023/Sep/27/06:37:17 0.64 0.69 0.68 6144 2718 3425 2023/Sep/27/07:07:22 0.40 0.41 0.41 6144 2717 3426 2023/Sep/27/07:37:27 0.89 0.73 0.49 6144 2715 3428 2023/Sep/27/08:07:32 0.45 0.52 0.57 6144 2714 3429 2023/Sep/27/08:37:37 0.34 0.37 0.39 6144 2714 3429 2023/Sep/27/09:07:42 0.68 0.71 0.57 6144 2713 3430 2023/Sep/27/09:37:47 0.53 0.48 0.55 6144 2712 3431 2023/Sep/27/10:07:52 0.65 0.50 0.41 6144 2711 3432 2023/Sep/27/10:37:57 1.92 1.34 0.79 6144 2720 3423 2023/Sep/27/11:08:02 0.92 0.93 0.81 6144 2719 3424
Test16 | show cpu-top-consumers location 0/RP0/CPU0 | Fri Jan 10 08:28:11.969 UTC Execute 'show cpu-snapshots process <> location <>' to check CPU usage trend. ################################################################### Top CPU consumers on 0/RP0/CPU0 (at 2023/Sep/27/11:08:02) ################################################################### PID Process CPU(%) CPU Time(M:S) 2525 resmon 14 379:22.04 6955 te_control 2 6:27.79 6952 netconf_agent_tty 2 19:16.63 6176 es_acl_mgr 2 0:39.71 6146 tc_server 2 0:31.20 5754 spio_ea 2 0:19.40 3191 beam.smp 2 569:04.32
Test17 | Show run controller optics 0/0/0/1 | Fri Jan 10 08:28:12.711 UTC controller Optics0/0/0/1 description Scr1-Prot bits-per-symbol 3.4375 rx-low-threshold -220 logging events link-status !
Test18 | show controller coherentDSP 0/2/0/0 pm current 15-min fec | Fri Jan 10 08:28:13.155 UTC Error: 'sysdb' detected the 'warning' condition 'A verifier or EDM callback function returned: 'not found''
Test19 | show controllers coherentDSP 0/0/0/1 ¦ I optical | Fri Jan 10 08:28:13.469 UTC
Test20 | Show controllers optics 0/0/0/0 pm history 15-min optics 1 Bucket 1 | Fri Jan 10 08:28:13.795 UTC Optics in interval 1 [08:00:00 - 08:15:00 Fri Jan 10 2025] Optics history bucket type : Valid MIN AVG MAX LBC[% ] : 0.0 0.0 0.0 OPT[dBm] : -1.53 -1.49 -1.44 OPR[dBm] : -4.37 -4.19 -3.97 CD[ps/nm] : -3 1 4 DGD[ps ] : 1.00 1.21 2.00 SOPMD[ps^2]: 5.00 48.00 273.00 OSNR[dB] : 28.20 28.89 29.70 PDL[dB] : 0.20 0.29 0.40 PCR[rad/s] : 0.00 20.12 87.00 RX_SIG[dBm] : -4.90 -4.66 -4.38 FREQ_OFF[Mhz]: -171 -25 104 SNR[dB] : 17.50 17.69 17.90 SNR-AX[dB]: 17.40 17.66 17.90 SNR-AY[dB]: 17.50 17.72 18.00 SNR-BX[dB]: 15.70 15.88 16.10 SNR-BY[dB]: 15.70 15.88 16.20 SOP-S1 : 0.00 1.78 2.55 SOP-S2 : 1.57 1.58 1.62 SOP-S3 : 0.05 0.18 0.32 Last clearing of "show controllers OPTICS" counters never
Test21 | show running-config ¦ include ssh | Fri Jan 10 08:28:14.216 UTC Building configuration... ssh ssh server rate-limit 600 ssh server v2 ssh server netconf vrf default
Test22 | show ssh | Fri Jan 10 08:28:14.990 UTC SSH version : Cisco-2.0 id chan pty location state userid host ver authentication connection type ------------------------------------------------------------------------------------------------------------------------------- Incoming sessions 46508 1 vty0 0/RP0/CPU0 SESSION_OPEN admin 10.110.227.33 v2 password Command-Line-Interface Outgoing sessions